## Spain
LICENSED | EQUIPMENT SUPPLIER | INSTALLERS | POWER | PRODUCTS | B2C and fleets | B2B | Transition 1.2 - 1.4
[7 empty] | Extension requested* | Extension granted
INDRA | INDRA | Obratel | 3/7 kW | INDRA | X | X | no | ⁻
|  | Indra | 3/7 kW | INDRA | X | X | no | ⁻
Schneider Electric | Schneider Electric | Schneider Electric network of installers | 3 / 7 / 11 kW | SE | X | X | yes | yes
SCAME PARRE | SCAME PARRE | Scame Parre network of installers | 3 / 11 / 43kW | SCAME SP | X | X | yes | yes
PROTOSCAR | PROTOSCAR | ALPIQ | 3 / 11 kW | PROTO | X | X | no | ⁻
INGETEAM | INGETEAM | IBIL | 3 / 11 kW | Ingeteam | X | X | yes | yes
|  | Obratel | 3 / 11 kW | Ingeteam | X | X | yes | yes
PODPOINT | PODPOINT | SEA Electronics | 3 kW | PODPOINT | X | X | yes | yes
CIRCONTROL | CIRCONTROL | CIRCUTOR/LUGENERGY | 3 / 11 / 43 kW | CIRCONTROL | X | X | yes | yes
BLUEMOBILITY | BLUEMOBILITY | ESYCSA | 3 kW | BLUEMOBILITY | X |  | no | ⁻
SIMON | SIMON | Electric Parking Solutions | 3 / 22kW | Simon | X | X | yes | yes
Electric Parking Solutions | Schneider Electric | Electric Parking Solutions | 3 / 7 / 11 kW | SE | X | X | yes | yes
| INGETEAM |  | 3 / 11 kW | Ingeteam | X | X | yes | yes
| CIRCONTROL |  | 3 / 11 / 43 kW | CIRCONTROL | X | X | yes | yes
| SIMON |  | 3 / 22kW | Simon | X | X | yes | yes
* extension request by signature of ZER110

## INDRA ESP
INDRA SPAIN
Device | Reference | B2C and fleets | B2B
Wallbox Grai 3 kW (7kW not allowed) | GRAI-M3-62A-V00 | ■
Spot Publico Exterior 3kW (7kW not allowed) | WB1FM123-V074K-3G-00EE-PP-2T-V01 | ■ | ■
Wallbox Interior professional 3 kW (7kW not allowed) | WB1FM123-V074K-3G-00 EE-CA-2T-V01 | ■ | ■

## SE ESP
Schneider Electric SPAIN
Device | Reference | B2C and fleets | B2B | Comments
Wallbox att-Cable T1 3kW INT Electric Vehicle Charging Station | NCA11100 | ■
Wall mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 34301 |  | ■
Wall mounted Sarel 1xT2 11 kW Electric Vehicle Charging Station | NCA 32301 |  | ■
Floor mounted Sarel 2xT2 11 kW Electric Vehicle Charging Station | NCA 44301 |  | ■
Residential wallbox T2 7,4 kW | EVH1S7P0C | ■
Residential wallbox T1 7,4 kW | EVH1S7P0A | ■
Residential wallbox T2 3.7 kW | EVH1S3P0C | ■
Residential wallbox T1 3.7 kW | EVH1S3P0A | ■
Wallbox Std T2 16A 1-Phase Key IEC | EVH2S3P02K | ■ | ■
Wallbox Std T2 32A 1-Phase Key IEC | EVH2S7P02K | ■ | ■
Wallbox Std T2 16A 3-Phase Key IEC | EVH2S11P02K | ■ | ■
Wallbox Std T2 32A 3-Phase Key IEC | EVH2S22P02K | ■ | ■
Wallbox Std Cable T1 16A 1-Ph Key IEC | EVH2S3P0AK | ■ | ■
Wallbox Std Cable T1 32A 1-Ph Key IEC | EVH2S7P0AK | ■ | ■
Wallbox Std Cable T2 16A 1-Ph Key IEC | EVH2S3P0CK | ■ | ■
Wallbox Std Cable T2 32A 1-Ph Key IEC | EVH2S7P0CK | ■ | ■
Wallbox Std Cable T2 16A 3-Ph Key IEC | EVH2S11P0CK | ■ | ■
Wallbox Std Cable T2 32A 3-Ph Key IEC | EVH2S22P0CK | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02 | ■ | ■
EVlink Parking Wallbox 1x22kW T2 | EVW2S22P02R | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22 | ■ | ■
EVlink Parking Wallbox 2x22kW T2 | EVW2S22P22R | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02 | ■ | ■
EVlink Parking Wallbox 1x7kW T2 | EVW2S7P02R | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22 | ■ | ■
EVlink Parking Wallbox 2x7kW T2 | EVW2S7P22R | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02 | ■ | ■
EVlink Parking Spot 1x22kW T2 | EVF2S22P02R | ■ | ■
EVlink Parking Spot 2x22kW T2 | EVF2S22P22 | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S22P22R | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02 | ■ | ■
EVlink Parking Spot 1x7kW T2 | EVF2S7P02R | ■ | ■
EVlink Parking Spot 2x7kW T2 | EVF2S7P22 | ■ | ■
EVlink Parking Wallbox 2x2kW T2 | EVF2S7P22R | ■ | ■
EVlink Parking Wallbox 1x22kW T2S | EVF2S22P04 | ■ | ■

## Protoscar
Protoscar
Device | Reference | B2C | B2B | Comments
Home Charge Device AT1 3 kW | 1P-HCD-FR01-Mode3 | ■ |  | Only fluence and Kangoo
Home Charge Device AT1 3 kW | 1P-RFID-HCD-FR01-Mode3 | ■ | ■ | Only fluence and Kangoo
Home Charge Device AT2 11 kW | 3P-HCD-FR01-Mode3 | ■ | ■
Home Charge Device AT2 11 kW | 3P-RFID-HCD-FR01-Mode3 | ■
Home Charge Device AT2 3 kW | 1P-HCD-FR01-Mode3 | ■
Home Charge Device AT2 22 kW | 3P-HCD-FR01-Mode3 | ■ |  | limited at 20Amps
Home Charge Device AT2 22 kW | 3P-RFID-HCD-FR01-Mode3 | ■ | ■ | limited at 20Amps

## SCAME SPAIN
SCAME Spain
Device | Reference | B2C | B2B | Comments
Pillar in painted steel with 1 connector with rfid TYPE 2 44kW | 204.CA13R-T26 | ■ | ■
Pillar in painted steel with 1 socket with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CA11B-T2 | ■ | ■
Pillar in painted steel with 1 socket with lock TYPE 2 11 kW (7 and 22kW not allowed) | 204.CA13B-T2 | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 3kW | 204.CA21B-3CT2 | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 3kW (7 and 22kW not allowed) | 204.CA21B-T23A | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CA21B-T2T2 | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CA21B-T2UN | ■ | ■
Pillar in painted steel with 2 connectors with rfid TYPE 2 3,5kW | 204.CA21R-T21T21 | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 11 kW (7 and 22kW not allowed) | 204.CA22B-T23A | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 11 kW (7 and 22kW not allowed) | 204.CA22B-T2UN | ■ | ■
Pillar in painted steel with 2 sockets with lock TYPE 2 11 kW (7 and 22kW not allowed) | 204.CA23B-T2T2 | ■ | ■
Pillar in painted steel with 4 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CA41B-001 | ■ | ■
Pillar in stainless steel with 2 sockets with lock TYPE 2 3kW (7 and 22kW not allowed) | 204.CB21B-3CT2 | ■ | ■
Pillar in stainless steel with 2 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CB21B-T23A | ■ | ■
Pillar in stainless steel with 2 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CB21B-T2T2 | ■ | ■
Pillar in cor-ten steel with 4 sockets with lock TYPE 2 3 kW (7 and 22kW not allowed) | 204.CR41B-001 | ■ | ■
Consumer unit with 1 socket with lock TYPE 2 3,5kW | 204.UB11B-T2 | ■
Consumer unit with 1 socket with lock TYPE 2 11 kW (7 and 22kW not allowed) | 204.UB13B-T2 | ■
Wall box with 1 socket TYPE 2 3,5kW | 204.WB11L-T2 | ■
Wall box with 1 socket with rfid TYPE 2 3,5kW | 204.WB11R-T2 | ■
Pillar in painted steel with 2 connectors with rfid TYPE 1 3,5kW | 204.CA21R-T11T11 | ■ | ■ | Only Fluence and Kangoo
Pillar in painted steel with 2 sockets with lock TYPE 3C 22kW and TYPE 2 22kW | 204.CA23B-3CT2 | ■ | ■

## INGETEAM
INGETEAM
Device | Reference | B2C and fleets | B2B | Comments
Charging station City T2 3kW | G1116 | ■ | ■
Charging station City T2 11 kW (7/22 kW not allowed) | G1332 | ■ | ■
Charging station City T2 3kW | G1116-IT | ■ | ■
Charging station City T2 11 kW (7/22 kW not allowed) | G1332-IT | ■ | ■
Charging station City T2 3kW | W1116 | ■ | ■
Wallbox Garage T2 3 kW | W1116 | ■ | ■
Wallbox Garage T2 11 kW (7/22 kW not allowed) | W1332 | ■ | ■
Wallbox Garage T2 3 kW | W1116-IT | ■ | ■
Wallbox Garage T2 11 kW (7/22 kW not allowed) | W1332-IT | ■ | ■
Charging station City 11kW | G1316 | ■ | ■
Charging station City 11kW | W1316 | ■ | ■

## PODPOINT
PODPOINT
Désignation | Référence | B2C et flottes | B2B | Commentaires
PodPoint solo 2 3 kW T2 (7 kW not allowed) | SL-3261-1-xx | ■ | ■
PodPoint solo GSM 3kW AT1 | SL-3201-1-xx | ■ | ■ | Only Fluence and Kangoo
PodPoint solo GSM 3kW AT1 | SL-1601-1-xx | ■ | ■ | Only Fluence and Kangoo

## Bluemobility
BLUEMOBILITY SPAIN
Device | Reference | B2C | B2B | Comments
Wallbox Simplex Modo 3 kVA | PW3BM001 | ■

## CIRCONTROL
CIRCONTROL
Device | Reference | B2C | B2B | Comments
CCL-PT3 ZE READY 1xT2 43kW Floor mounted | 490122 | ■ | ■
CCL-PM3 ZER 2xT2 3 kW Floor mounted (7/22kW not allowed) | 490081ZER | ■ | ■
CCL-PT3 ZER 2xT2 11 kW Floor mounted (7/22kW not allowed) | 490083ZER | ■ | ■
CCL-PT63 ZER 1xT2 43 kW Floor mounted | 490122ZER | ■ | ■
CCL-PM3 URBAN ZER 2xT2 3 kW Floor mounted (7/22kW not allowed) | 490081ZER | ■ | ■
CCL-PT3 URBAN ZER 2xT2 11 kW Floor mounted (7/22kW not allowed) | 490083ZER | ■ | ■
CCL-QPMIX 32ZER AC 11 kW Quick Charger DC+AC (7/22kW not allowed) | 490063ZER | ■ | ■
CCL-QPMIX 63ZER AC43 kW Quick Charger DC+AC | 490120ZER | ■ | ■
CCL-QPC MIX 32ZER AC11 kW Quick Charger DC+AC (7/22kW not allowed) | 490099ZER | ■ | ■
CCL-QPC MIX 63 ZER AC43 kW Quick Charger DC+AC | 490128ZER | ■ | ■
CCL- PT32 ZER 1xT2 11kW Floor mounted (7/22kW not allowed) | 490132 | ■ | ■
CCL-WBCSMART ZER 1xT2 3,6kW wall box | 490075ZER | ■ | ■
CCL-WBC 32 SMART ZER 1xT2 3 kW wall box (7/22kW not allowed) | 490124ZER | ■ | ■
CCL-WBM SMART ZER 1xT2 3 kW wall box (7/22kW not allowed) | 490073ZER | ■ | ■
CCL-WBM SMART TRI ZER 1xT2 11kW wall box (7/22kW not allowed) | 490089ZER | ■ | ■
CCL-WB2M ZER 2xT2 3 kW wall box (7/22kW not allowed) | 490106ZER | ■ | ■
CCL-WB2M TRI ZER 2xT2 11 kW wall box (7/22kW not allowed) | 490107ZER | ■ | ■

## SIMON
SIMON SPAIN
Device | Reference | B2C and fleets | B2B | Comments
Plug and Drive RB01 T2 | 0600291-039 | ■ | ■
Plug and Drive RB01 T2 | 0600211-039 | ■ | ■
Plug and Drive RB01 T2 | 0600241-039 | ■ | ■
Plug and Drive RB01 T2 | 0600271-039 | ■
Plug and Drive RB01 T2 | 0600201-039 | ■
Plug and Drive RB01 T2 | 0600251-039 | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600392-039 | ■ | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600312-039 | ■ | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600342-039 | ■ | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600302-039 | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600352-039 | ■
Plug and Drive RB02 T2 (7/22 kW not allowed) | 0600372-039 | ■